## 2022-2026 master plan
Federal Capital Plan 2027 - 2031 Draft for Posting | Amp | Development | 2027 | 2028 | 2029 | 2030 | 2031
(All Work Activites Include Architectural & Engineering Services)
2015 - Debt Service (31%) | Amp 10 | Bay Village | 298425.375 | 298425.375 | 298425.375 | 298425.375 | 298425.375
2022 - Debt Service (5%) | Amp 10 | Bay Village | 47894.25 | 47894.25 | 47894.25 | 47894.25 | 47894.25
Master Security Plan | Amp 10 | Bay Village | 1
Relocation | Amp 10 | Bay Village | 1
Building Exterior (Including Office/ Administration Buildings)
Alternative Energy Measures/ Construction | Amp 10 | Bay Village |  |  |  |  | 1
Basement Access Upgrades | Amp 10 | Bay Village |  |  | 350000
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | Bay Village |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | Bay Village | 1
Front/ Rear Porches Replacement | Amp 10 | Bay Village |  | 1
Property Office Renovations | Amp 10 | Bay Village |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 10 | Bay Village | 300000 | 300000 |  |  | 350000
Siding/ Trim Replacement | Amp 10 | Bay Village | 1
Windows Replacement | Amp 10 | Bay Village |  |  |  |  | 1
Building Interior (Including Office/ Administration Buildings)
Bathroom Renovations | Amp 10 | Bay Village |  |  |  | 1
Flooring Replacement | Amp 10 | Bay Village |  | 1
Unit Door/ Hardware Replacement | Amp 10 | Bay Village | 1
Kitchen Renovations | Amp 10 | Bay Village |  |  | 250000
Grounds/ Site (Including Office/ Administration Buildings)
Courtyard/ Grade Construction | Amp 10 | Bay Village |  | 1
Fence Installation/ Replacement | Amp 10 | Bay Village |  |  |  |  | 250000
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | Bay Village |  | 1
Walkways Replacement | Amp 10 | Bay Village | 1
Electrical (Including Office/ Administration Buildings)
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | Bay Village | 1
Appliance Gas to Electric Conversion | Amp 10 | Bay Village |  |  |  | 350000
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | Bay Village | 1
Communication/ Security Systems Installation | Amp 10 | Bay Village | 1
Unit / Building Lighting Replacement | Amp 10 | Bay Village | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | Bay Village |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | Bay Village |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | Bay Village | 1
Fire Alarm System Modernization | Amp 10 | Bay Village |  |  | 1
Heating/ Plumbing/ HVAC (Including Office/ Administration Buildings)
Heating/ HVAC Systems Replacement | Amp 10 | Bay Village | 1
Hot Water Storage Tank Replacement | Amp 10 | Bay Village | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | Bay Village |  |  |  | 250000
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | Bay Village | 1
Sanitary Lines Replacement | Amp 10 | Bay Village | 1
Master Security Plan | Amp 10 | Mosher Street | 1
Relocation | Amp 10 | Mosher Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 10 | Mosher Street |  |  |  |  | 1
Basement Access Upgrades | Amp 10 | Mosher Street |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | Mosher Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | Mosher Street | 1
Front/ Rear Porches Replacement | Amp 10 | Mosher Street |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 10 | Mosher Street |  |  | 1
Siding/ Trim Replacement | Amp 10 | Mosher Street | 1
Windows Replacement | Amp 10 | Mosher Street | 1
Building Interior
Bathroom Renovations | Amp 10 | Mosher Street |  | 1
Flooring Replacement | Amp 10 | Mosher Street |  |  | 1
Unit Door/ Hardware Replacement | Amp 10 | Mosher Street | 1
Kitchen Renovations | Amp 10 | Mosher Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 10 | Mosher Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | Mosher Street |  |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | Mosher Street | 1
Appliance Gas to Electric Conversion | Amp 10 | Mosher Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | Mosher Street | 1
Communication/ Security Systems Installation | Amp 10 | Mosher Street | 1
Unit / Building Lighting Replacement | Amp 10 | Mosher Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | Mosher Street |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | Mosher Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | Mosher Street | 1
Fire Alarm System Modernization | Amp 10 | Mosher Street |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 10 | Mosher Street | 1
Hot Water Storage Tank Replacement | Amp 10 | Mosher Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | Mosher Street |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | Mosher Street |  |  |  |  | 1
Sanitary Lines Replacement | Amp 10 | Mosher Street | 1
Master Security Plan | Amp 10 | South First Street | 1
Relocation | Amp 10 | South First Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 10 | South First Street |  |  |  |  | 1
Basement Access Upgrades | Amp 10 | South First Street |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | South First Street |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | South First Street |  | 1
Front/ Rear Porches Replacement | Amp 10 | South First Street |  |  | 1
Roof/ Gutters Replacement | Amp 10 | South First Street | 1
Siding/ Trim Replacement | Amp 10 | South First Street | 1
Windows Replacement | Amp 10 | South First Street |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 10 | South First Street |  |  |  |  | 1
Flooring Replacement | Amp 10 | South First Street |  |  |  | 1
Unit Door/ Hardware Replacement | Amp 10 | South First Street |  | 1
Kitchen Renovations | Amp 10 | South First Street |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 10 | South First Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | South First Street |  |  |  | 1
Walkways Replacement | Amp 10 | South First Street |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | South First Street | 1
Appliance Gas to Electric Conversion | Amp 10 | South First Street |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | South First Street |  | 1
Communication/ Security Systems Installation | Amp 10 | South First Street | 1
Unit / Building Lighting Replacement | Amp 10 | South First Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | South First Street |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | South First Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | South First Street | 1
Fire Alarm System Modernization | Amp 10 | South First Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 10 | South First Street | 1
Hot Water Storage Tank Replacement | Amp 10 | South First Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | South First Street |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | South First Street |  |  |  | 1
Sanitary Lines Replacement | Amp 10 | South First Street |  |  |  | 1
Master Security Plan | Amp 10 | Alec Street | 1
Relocation | Amp 10 | Alec Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 10 | Alec Street |  |  |  |  | 1
Basement Access Upgrades | Amp 10 | Alec Street |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | Alec Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | Alec Street |  |  |  |  | 1
Front/ Rear Porches Replacement | Amp 10 | Alec Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 10 | Alec Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 10 | Alec Street | 230247 | 230247
Windows Replacement | Amp 10 | Alec Street |  |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 10 | Alec Street |  |  |  |  | 1
Flooring Replacement | Amp 10 | Alec Street |  |  | 1
Unit Door/ Hardware Replacement | Amp 10 | Alec Street | 1
Kitchen Renovations | Amp 10 | Alec Street |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 10 | Alec Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | Alec Street |  |  | 1
Walkways Replacement | Amp 10 | Alec Street |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | Alec Street | 1
Appliance Gas to Electric Conversion | Amp 10 | Alec Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | Alec Street |  |  | 1
Communication/ Security Systems Installation | Amp 10 | Alec Street | 1
Unit / Building Lighting Replacement | Amp 10 | Alec Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | Alec Street |  |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | Alec Street |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | Alec Street | 1
Fire Alarm System Modernization | Amp 10 | Alec Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 10 | Alec Street |  |  | 1
Hot Water Storage Tank Replacement | Amp 10 | Alec Street |  |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | Alec Street |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | Alec Street |  |  |  | 1
Sanitary Lines Replacement | Amp 10 | Alec Street |  |  |  |  | 1
Master Security Plan | Amp 10 | Ben Rose I | 1
Relocation | Amp 10 | Ben Rose I | 1
Building Exterior (Including Community Building)
Alternative Energy Measures/ Construction | Amp 10 | Ben Rose I |  |  |  |  | 1
Basement Access Upgrades | Amp 10 | Ben Rose I |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | Ben Rose I |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | Ben Rose I | 1
Front/ Rear Porches Replacement | Amp 10 | Ben Rose I |  |  | 1
Roof/ Gutters Replacement | Amp 10 | Ben Rose I |  |  |  |  | 1
Siding/ Trim Replacement | Amp 10 | Ben Rose I |  |  |  | 1
Windows Replacement | Amp 10 | Ben Rose I |  |  |  |  | 1
Building Interior (Including Community Building)
Bathroom Renovations | Amp 10 | Ben Rose I | 1
Flooring Replacement | Amp 10 | Ben Rose I |  | 1
Unit Door/ Hardware Replacement | Amp 10 | Ben Rose I |  |  |  | 1
Kitchen Renovations | Amp 10 | Ben Rose I |  |  |  |  | 1
Grounds/ Site (Including Community Building)
Fence Installation/ Replacement | Amp 10 | Ben Rose I |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | Ben Rose I |  |  | 1
Walkways Replacement | Amp 10 | Ben Rose I |  |  |  | 1
Electrical (Including Community Building)
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | Ben Rose I | 1
Appliance Gas to Electric Conversion | Amp 10 | Ben Rose I |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | Ben Rose I |  | 1
Communication/ Security Systems Installation | Amp 10 | Ben Rose I | 1
Unit / Building Lighting Replacement | Amp 10 | Ben Rose I | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | Ben Rose I |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | Ben Rose I |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | Ben Rose I | 1
Fire Alarm System Modernization | Amp 10 | Ben Rose I |  |  |  |  | 1
Heating/ Plumbing/ HVAC (Including Community Building)
Heating/ HVAC Systems Replacement | Amp 10 | Ben Rose I | 1
Hot Water Storage Tank Replacement | Amp 10 | Ben Rose I | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | Ben Rose I |  |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | Ben Rose I | 1
Sanitary Lines Replacement | Amp 10 | Ben Rose I | 1
Sprinkler System Modernization | Amp 10 | Ben Rose I |  |  |  |  | 1
Master Security Plan | Amp 10 | Ben Rose II | 1
Relocation | Amp 10 | Ben Rose II | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 10 | Ben Rose II |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 10 | Ben Rose II |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 10 | Ben Rose II | 1
Front/ Rear Porches Replacement | Amp 10 | Ben Rose II |  |  | 1
Roof/ Gutters Replacement | Amp 10 | Ben Rose II |  |  |  |  | 1
Siding/ Trim Replacement | Amp 10 | Ben Rose II |  |  |  |  | 1
Windows Replacement | Amp 10 | Ben Rose II |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 10 | Ben Rose II | 1
Flooring Replacement | Amp 10 | Ben Rose II | 1
Unit Door/ Hardware Replacement | Amp 10 | Ben Rose II | 1
Kitchen Renovations | Amp 10 | Ben Rose II | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 10 | Ben Rose II |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 10 | Ben Rose II |  |  | 1
Walkways Replacement | Amp 10 | Ben Rose II |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 10 | Ben Rose II | 1
Appliance Gas to Electric Conversion | Amp 10 | Ben Rose II |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 10 | Ben Rose II |  | 1
Communication/ Security Systems Installation | Amp 10 | Ben Rose II | 1
Unit / Building Lighting Replacement | Amp 10 | Ben Rose II | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 10 | Ben Rose II |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 10 | Ben Rose II |  |  | 1
Light Poles & Lumineers Replacement | Amp 10 | Ben Rose II | 1
Fire Alarm System Modernization | Amp 10 | Ben Rose II |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 10 | Ben Rose II | 1
Hot Water Storage Tank Replacement | Amp 10 | Ben Rose II | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 10 | Ben Rose II |  |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 10 | Ben Rose II |  |  | 1
Sanitary Lines Replacement | Amp 10 | Ben Rose II |  |  |  | 1
2015 - Debt Service (15%) | Amp 20 | Boa Vista | 144399.375 | 144399.375 | 144399.375 | 144399.375 | 144399.375
2022 - Debt Service (9%) | Amp 20 | Boa Vista | 86209.65 | 86209.65 | 86209.65 | 86209.65 | 86209.65
Master Security Plan | Amp 20 | Boa Vista | 1
Relocation | Amp 20 | Boa Vista | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 20 | Boa Vista |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 20 | Boa Vista |  |  |  | 68688.34
Entry Doors/ Hardware Replacement | Amp 20 | Boa Vista |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 20 | Boa Vista | 1
Siding/ Trim Replacement | Amp 20 | Boa Vista |  |  |  | 1
Windows Replacement | Amp 20 | Boa Vista | 1 | 265123
Building Interior
Bathroom Renovations | Amp 20 | Boa Vista |  |  |  |  | 1
Flooring Replacement | Amp 20 | Boa Vista |  |  | 1
Wall Protection | Amp 20 | Boa Vista |  |  |  |  | 1
Unit Door/ Hardware Replacement | Amp 20 | Boa Vista | 265123
Kitchen Renovations | Amp 20 | Boa Vista |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 20 | Boa Vista |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 20 | Boa Vista |  |  |  |  | 1
Walkways Replacement | Amp 20 | Boa Vista |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 20 | Boa Vista | 1
Appliance Gas to Electric Conversion | Amp 20 | Boa Vista |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 20 | Boa Vista |  |  |  |  | 1
Carbon Dioxide/ Smoke Detector Replacement | Amp 20 | Boa Vista |  |  |  | 1
Communication/ Security Systems Installation | Amp 20 | Boa Vista | 1
Unit / Building Lighting Replacement | Amp 20 | Boa Vista | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 20 | Boa Vista |  |  |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 20 | Boa Vista |  |  | 1
Light Poles & Lumineers Replacement | Amp 20 | Boa Vista | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 20 | Boa Vista |  |  |  | 1
Hot Water Storage Tank Replacement | Amp 20 | Boa Vista |  |  |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 20 | Boa Vista |  | 265123 |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 20 | Boa Vista | 265123
Sanitary Lines Replacement | Amp 20 | Boa Vista |  |  |  | 1
Water Pump Replacement | Amp 20 | Boa Vista |  |  |  |  | 1
Emergency Generator
Building Trash Compactor System Replacement | Amp 20 | Boa Vista |  |  |  | 1
Cogeneration Systems Upgrades/ Replacement | Amp 20 | Boa Vista |  |  | 20180.6
Emergency Generator Transfer Switch Replacement | Amp 20 | Boa Vista |  | 1
Emergency Generator Upgrade/ Replacement | Amp 20 | Boa Vista |  | 1
Fire Detection System
Bi-directional Antennae Replacement/ Installation (BDA) | Amp 20 | Boa Vista |  |  |  |  | 1
Fire Alarm Detection Systems Device Replacement | Amp 20 | Boa Vista |  |  |  |  | 1
Fire Alarm Panel Upgrades | Amp 20 | Boa Vista | 1
Radio Master Box Replacement | Amp 20 | Boa Vista |  |  |  |  | 1
Fire Alarm System Modernization | Amp 20 | Boa Vista |  |  |  |  | 1
Sprinkler System
Fire Pump Controller Upgrades/ Replacement | Amp 20 | Boa Vista | 1
Fire Pump Replacement | Amp 20 | Boa Vista | 1
Jockey Pump Controller Upgrades/ Replacement | Amp 20 | Boa Vista | 1
Jockey Pump Upgrades/ Replacement | Amp 20 | Boa Vista | 1
Sprinkler Electrical Systems Upgrades | Amp 20 | Boa Vista | 1
Sprinkler Heads Replacement/ Relocation | Amp 20 | Boa Vista | 1
Sprinkler System Modernization | Amp 20 | Boa Vista | 1
Elevators
Elevator Cab/ Finishes Upgrades/ Replacement | Amp 20 | Boa Vista | 1
Elevator Controller Replacement | Amp 20 | Boa Vista | 1
Elevator Doors Replacement | Amp 20 | Boa Vista | 1
Elevator Hoist Way Upgrades | Amp 20 | Boa Vista | 1
Elevator Machine Room/ Pit Upgrades | Amp 20 | Boa Vista | 1
Elevator Motor Replacement | Amp 20 | Boa Vista | 1
Elevator Modernization | Amp 20 | Boa Vista | 1
2015 - Debt Service (2%) | Amp 30 | Westlawn | 19253.25 | 19253.25 | 19253.25 | 19253.25 | 19253.25
2022 - Debt Service (11%) | Amp 30 | Westlawn | 105367.35 | 105367.35 | 105367.35 | 105367.35 | 105367.35
Master Security Plan | Amp 30 | Westlawn | 1
Relocation | Amp 30 | Westlawn | 1
Building Exterior (Including Office/ Administration Buildings)
Alternative Energy Measures/ Construction | Amp 30 | Westlawn |  |  |  |  | 1
Basement Access Upgrades | Amp 30 | Westlawn |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 30 | Westlawn |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 30 | Westlawn | 1 | 230247
Front/ Rear Porches Replacement | Amp 30 | Westlawn | 1
Property Office Renovations | Amp 30 | Westlawn |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 30 | Westlawn |  |  |  |  | 350000
Siding/ Trim Replacement | Amp 30 | Westlawn | 300000 | 300000
Windows Replacement | Amp 30 | Westlawn |  |  |  |  | 1
Building Interior (Including Office/ Administration Buildings)
Bathroom Renovations | Amp 30 | Westlawn |  | 1
Flooring Replacement | Amp 30 | Westlawn |  |  | 350000
Unit Door/ Hardware Replacement | Amp 30 | Westlawn | 1
Kitchen Renovations | Amp 30 | Westlawn |  |  |  | 350000
Grounds/ Site (Including Office/ Administration Buildings)
Courtyard/ Grade Construction | Amp 30 | Westlawn | 1
Fence Installation/ Replacement | Amp 30 | Westlawn |  |  |  |  | 250000
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 30 | Westlawn |  | 1
Electrical (Including Office/ Administration Buildings)
Access Control/ Intercom Systems Installation/ Replacement | Amp 30 | Westlawn | 1
Appliance Gas to Electric Conversion | Amp 30 | Westlawn |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 30 | Westlawn | 1
Communication/ Security Systems Installation | Amp 30 | Westlawn | 1
Unit / Building Lighting Replacement | Amp 30 | Westlawn | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 30 | Westlawn |  |  |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 30 | Westlawn |  |  | 1
Light Poles & Lumineers Replacement | Amp 30 | Westlawn | 1
Fire Alarm System Modernization | Amp 30 | Westlawn |  |  |  |  | 1
Heating/ Plumbing/ HVAC (Including Office/ Administration Buildings)
Heating/ HVAC Systems Replacement | Amp 30 | Westlawn |  | 1
Hot Water Storage Tank Replacement | Amp 30 | Westlawn |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 30 | Westlawn |  |  | 250000
Potable Water Service Lines/ Isolation Valves Replacement | Amp 30 | Westlawn |  |  |  | 250000
Sanitary Lines Replacement | Amp 30 | Westlawn |  |  |  | 1
Master Security Plan | Amp 30 | North Street | 1
Relocation | Amp 30 | North Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 30 | North Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 30 | North Street |  |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 30 | North Street |  |  | 1
Front/ Rear Porches Replacement | Amp 30 | North Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 30 | North Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 30 | North Street |  |  |  |  | 1
Windows Replacement | Amp 30 | North Street | 1
Building Interior
Bathroom Renovations | Amp 30 | North Street | 1
Flooring Replacement | Amp 30 | North Street |  |  | 1
Unit Door/ Hardware Replacement | Amp 30 | North Street |  | 1
Kitchen Renovations | Amp 30 | North Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 30 | North Street | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 30 | North Street | 1
Walkways Replacement | Amp 30 | North Street | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 30 | North Street | 1
Appliance Gas to Electric Conversion | Amp 30 | North Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 30 | North Street |  | 1
Communication/ Security Systems Installation | Amp 30 | North Street | 1
Unit / Building Lighting Replacement | Amp 30 | North Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 30 | North Street |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 30 | North Street |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 30 | North Street | 1
Fire Alarm System Modernization | Amp 30 | North Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 30 | North Street |  |  | 1
Hot Water Storage Tank Replacement | Amp 30 | North Street |  |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 30 | North Street |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 30 | North Street |  |  |  | 1
Sanitary Lines Replacement | Amp 30 | North Street |  |  |  |  | 1
Master Security Plan | Amp 30 | Cottage Street | 1
Relocation | Amp 30 | Cottage Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 30 | Cottage Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 30 | Cottage Street |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 30 | Cottage Street | 1
Front/ Rear Porches Replacement | Amp 30 | Cottage Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 30 | Cottage Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 30 | Cottage Street |  |  |  |  | 1
Windows Replacement | Amp 30 | Cottage Street | 230247
Building Interior
Bathroom Renovations | Amp 30 | Cottage Street |  | 1
Flooring Replacement | Amp 30 | Cottage Street |  |  | 1
Unit Door/ Hardware Replacement | Amp 30 | Cottage Street | 1
Kitchen Renovations | Amp 30 | Cottage Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 30 | Cottage Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 30 | Cottage Street |  |  | 1
Walkways Replacement | Amp 30 | Cottage Street |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 30 | Cottage Street | 1
Appliance Gas to Electric Conversion | Amp 30 | Cottage Street |  |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 30 | Cottage Street |  | 1
Communication/ Security Systems Installation | Amp 30 | Cottage Street | 1
Unit / Building Lighting Replacement | Amp 30 | Cottage Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 30 | Cottage Street |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 30 | Cottage Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 30 | Cottage Street | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 30 | Cottage Street |  |  | 1
Hot Water Storage Tank Replacement | Amp 30 | Cottage Street |  |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 30 | Cottage Street |  |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 30 | Cottage Street |  |  |  | 1
Sanitary Lines Replacement | Amp 30 | Cottage Street |  |  |  | 1
Master Security Plan | Amp 30 | Smith Street | 1
Relocation | Amp 30 | Smith Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 30 | Smith Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 30 | Smith Street |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 30 | Smith Street | 1
Front/ Rear Porches Replacement | Amp 30 | Smith Street |  |  | 1
Roof/ Gutters Replacement | Amp 30 | Smith Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 30 | Smith Street |  |  |  |  | 1
Windows Replacement | Amp 30 | Smith Street | 1
Building Interior
Bathroom Renovations | Amp 30 | Smith Street |  |  |  | 1
Flooring Replacement | Amp 30 | Smith Street |  | 1
Unit Door/ Hardware Replacement | Amp 30 | Smith Street | 1
Kitchen Renovations | Amp 30 | Smith Street |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 30 | Smith Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 30 | Smith Street |  |  |  | 1
Walkways Replacement | Amp 30 | Smith Street |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 30 | Smith Street | 1
Appliance Gas to Electric Conversion | Amp 30 | Smith Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 30 | Smith Street |  | 1
Communication/ Security Systems Installation | Amp 30 | Smith Street | 1
Unit / Building Lighting Replacement | Amp 30 | Smith Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 30 | Smith Street |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 30 | Smith Street |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 30 | Smith Street | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 30 | Smith Street |  | 1
Hot Water Storage Tank Replacement | Amp 30 | Smith Street |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 30 | Smith Street |  |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 30 | Smith Street |  |  | 1
Sanitary Lines Replacement | Amp 30 | Smith Street |  |  |  | 1
Master Security Plan | Amp 30 | Mill Street | 1
Relocation | Amp 30 | Mill Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 30 | Mill Street |  |  |  |  | 1
Basement Access Upgrades | Amp 30 | Mill Street |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 30 | Mill Street |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 30 | Mill Street | 1
Front/ Rear Porches Replacement | Amp 30 | Mill Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Windows Replacement | Amp 30 | Mill Street |  |  | 1
Building Interior
Bathroom Renovations | Amp 30 | Mill Street |  | 1
Flooring Replacement | Amp 30 | Mill Street |  |  | 1
Unit Door/ Hardware Replacement | Amp 30 | Mill Street |  | 1
Kitchen Renovations | Amp 30 | Mill Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 30 | Mill Street |  |  | 1
Walkways Replacement | Amp 30 | Mill Street |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 30 | Mill Street | 1
Appliance Gas to Electric Conversion | Amp 30 | Mill Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 30 | Mill Street |  |  | 1
Communication/ Security Systems Installation | Amp 30 | Mill Street | 1
Unit / Building Lighting Replacement | Amp 30 | Mill Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 30 | Mill Street |  |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 30 | Mill Street | 1
Fire Alarm System Modernization | Amp 30 | Mill Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Hot Water Storage Tank Replacement | Amp 30 | Mill Street |  |  |  |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 30 | Mill Street |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 30 | Mill Street |  | 1
Sanitary Lines Replacement | Amp 30 | Mill Street | 1
2022 - Debt Service (19%) | Amp 40 | Hillside Court I | 181998.15 | 181998.15 | 181998.15 | 181998.15 | 181998.15
Master Security Plan | Amp 40 | Hillside Court I | 1
Relocation | Amp 40 | Hillside Court I | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 40 | Hillside Court I |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 40 | Hillside Court I |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 40 | Hillside Court I | 1
Front/ Rear Porches Replacement | Amp 40 | Hillside Court I | 300000
Roof/ Gutters Replacement | Amp 40 | Hillside Court I |  |  |  |  | 1
Siding/ Trim Replacement | Amp 40 | Hillside Court I |  |  |  |  | 1
Windows Replacement | Amp 40 | Hillside Court I |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 40 | Hillside Court I |  |  |  | 1
Flooring Replacement | Amp 40 | Hillside Court I | 1
Unit Door/ Hardware Replacement | Amp 40 | Hillside Court I |  | 300000
Kitchen Renovations | Amp 40 | Hillside Court I |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 40 | Hillside Court I |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 40 | Hillside Court I |  |  |  |  | 1
Walkways Replacement | Amp 40 | Hillside Court I |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 40 | Hillside Court I | 1
Appliance Gas to Electric Conversion | Amp 40 | Hillside Court I |  |  |  | 250000
Building Service Main Load Center/ Switchgear Replacement | Amp 40 | Hillside Court I |  | 1
Common Area/ Exterior Lighting Replacement | Amp 40 | Hillside Court I | 1
Communication/ Security Systems Installation | Amp 40 | Hillside Court I | 1
Unit / Building Lighting Replacement | Amp 40 | Hillside Court I | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 40 | Hillside Court I |  |  | 250000
Unit/ Common Switch/ Receptacle Replacement | Amp 40 | Hillside Court I |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 40 | Hillside Court I | 1
Fire Alarm System Modernization | Amp 40 | Hillside Court I |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 40 | Hillside Court I | 1
Hot Water Storage Tank Replacement | Amp 40 | Hillside Court I | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 40 | Hillside Court I |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 40 | Hillside Court I |  |  |  | 1
Sanitary Lines Replacement | Amp 40 | Hillside Court I |  |  |  |  | 1
Sprinkler System Modernization | Amp 40 | Hillside Court I |  |  |  |  | 250000
Master Security Plan | Amp 40 | Hillside Court II | 1
Relocation | Amp 40 | Hillside Court II | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 40 | Hillside Court II |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 40 | Hillside Court II |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 40 | Hillside Court II | 1
Front/ Rear Porches Replacement | Amp 40 | Hillside Court II |  |  | 1
Roof/ Gutters Replacement | Amp 40 | Hillside Court II |  |  |  |  | 1
Siding/ Trim Replacement | Amp 40 | Hillside Court II |  |  |  |  | 1
Windows Replacement | Amp 40 | Hillside Court II |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 40 | Hillside Court II |  |  | 1
Flooring Replacement | Amp 40 | Hillside Court II |  | 1
Unit Door/ Hardware Replacement | Amp 40 | Hillside Court II | 1
Kitchen Renovations | Amp 40 | Hillside Court II |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 40 | Hillside Court II |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 40 | Hillside Court II |  |  | 1
Walkways Replacement | Amp 40 | Hillside Court II |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 40 | Hillside Court II | 1
Appliance Gas to Electric Conversion | Amp 40 | Hillside Court II |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 40 | Hillside Court II |  | 1
Communication/ Security Systems Installation | Amp 40 | Hillside Court II | 1
Unit / Building Lighting Replacement | Amp 40 | Hillside Court II | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 40 | Hillside Court II |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 40 | Hillside Court II |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 40 | Hillside Court II | 1
Fire Alarm System Modernization | Amp 40 | Hillside Court II |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 40 | Hillside Court II |  | 1
Hot Water Storage Tank Replacement | Amp 40 | Hillside Court II |  | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 40 | Hillside Court II |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 40 | Hillside Court II |  |  |  | 1
Sanitary Lines Replacement | Amp 40 | Hillside Court II |  |  |  |  | 1
Master Security Plan | Amp 40 | Caroline Street | 1
Relocation | Amp 40 | Caroline Street | 1
Building Exterior (Including Community Building)
Alternative Energy Measures/ Construction | Amp 40 | Caroline Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 40 | Caroline Street |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 40 | Caroline Street | 1
Front/ Rear Porches Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Windows Replacement | Amp 40 | Caroline Street |  |  |  | 250000
Building Interior (Including Community Building)
Bathroom Renovations | Amp 40 | Caroline Street |  |  | 250000
Flooring Replacement | Amp 40 | Caroline Street | 1
Unit Door/ Hardware Replacement | Amp 40 | Caroline Street | 1
Kitchen Renovations | Amp 40 | Caroline Street |  |  | 1
Grounds/ Site (Including Community Building)
Fence Installation/ Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 40 | Caroline Street |  | 1
Walkways Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Electrical (Including Community Building)
Access Control/ Intercom Systems Installation/ Replacement | Amp 40 | Caroline Street | 1
Appliance Gas to Electric Conversion | Amp 40 | Caroline Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 40 | Caroline Street |  |  |  |  | 1
Communication/ Security Systems Installation | Amp 40 | Caroline Street | 1
Unit / Building Lighting Replacement | Amp 40 | Caroline Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 40 | Caroline Street | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 40 | Caroline Street |  | 1
Light Poles & Lumineers Replacement | Amp 40 | Caroline Street | 1
Fire Alarm System Modernization | Amp 40 | Caroline Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC (Including Community Building)
Heating/ HVAC Systems Replacement | Amp 40 | Caroline Street |  | 230247 |  |  | 1
Hot Water Storage Tank Replacement | Amp 40 | Caroline Street | 230247
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 40 | Caroline Street |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 40 | Caroline Street |  |  |  |  | 250000
Sanitary Lines Replacement | Amp 40 | Caroline Street |  |  | 1
Sprinkler System Modernization | Amp 40 | Caroline Street |  |  |  |  | 1
2022 - Debt Service (5%) | Amp 50 | Shawmut Village | 47894.25 | 47894.25 | 47894.25 | 47894.25 | 47894.25
Master Security Plan | Amp 50 | Shawmut Village | 1
Relocation | Amp 50 | Shawmut Village | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 50 | Shawmut Village |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 50 | Shawmut Village |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 50 | Shawmut Village | 300000 | 230247
Front/ Rear Porches Replacement | Amp 50 | Shawmut Village |  | 1
Roof/ Gutters Replacement | Amp 50 | Shawmut Village |  |  | 1
Siding/ Trim Replacement | Amp 50 | Shawmut Village | 230247
Windows Replacement | Amp 50 | Shawmut Village |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 50 | Shawmut Village |  |  |  | 150000
Flooring Replacement | Amp 50 | Shawmut Village |  | 1
Unit Door/ Hardware Replacement | Amp 50 | Shawmut Village | 1
Kitchen Renovations | Amp 50 | Shawmut Village |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 50 | Shawmut Village | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 50 | Shawmut Village |  | 1
Walkways Replacement | Amp 50 | Shawmut Village |  |  | 150000
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 50 | Shawmut Village | 1
Appliance Gas to Electric Conversion | Amp 50 | Shawmut Village
Building Service Main Load Center/ Switchgear Replacement | Amp 50 | Shawmut Village |  | 1 |  | 250000
Communication/ Security Systems Installation | Amp 50 | Shawmut Village | 1
Unit / Building Lighting Replacement | Amp 50 | Shawmut Village | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 50 | Shawmut Village |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 50 | Shawmut Village |  |  | 250000
Light Poles & Lumineers Replacement | Amp 50 | Shawmut Village | 1
Fire Alarm System Modernization | Amp 50 | Shawmut Village |  | 300000 |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 50 | Shawmut Village |  |  |  |  | 250000
Hot Water Storage Tank Replacement | Amp 50 | Shawmut Village |  |  |  |  | 150000
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 50 | Shawmut Village | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 50 | Shawmut Village |  |  |  | 1
Sanitary Lines Replacement | Amp 50 | Shawmut Village |  |  |  | 1
2015 - Debt Service (5%) | Amp 60 | Brickenwood | 48133.125 | 48133.125 | 48133.125 | 48133.125 | 48133.125
2022 - Debt Service (27%) | Amp 60 | Brickenwood | 258628.95 | 258628.95 | 258628.95 | 258628.95 | 258628.95
Master Security Plan | Amp 60 | Brickenwood | 1
Relocation | Amp 60 | Brickenwood | 1
Building Exterior (Including Office/ Administration Buildings)
Alternative Energy Measures/ Construction | Amp 60 | Brickenwood |  |  |  |  | 200000
Basement Access Upgrades | Amp 60 | Brickenwood | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 60 | Brickenwood | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 60 | Brickenwood | 300000 | 300000
Front/ Rear Porches Replacement | Amp 60 | Brickenwood | 1
Property Office Renovations | Amp 60 | Brickenwood |  |  |  | 1
Roof/ Gutters Replacement | Amp 60 | Brickenwood | 1 | 230247
Siding/ Trim Replacement | Amp 60 | Brickenwood | 1
Windows Replacement | Amp 60 | Brickenwood | 1
Building Interior (Including Office/ Administration Buildings)
Bathroom Renovations | Amp 60 | Brickenwood | 1
Flooring Replacement | Amp 60 | Brickenwood |  | 1
Unit Door/ Hardware Replacement | Amp 60 | Brickenwood |  |  | 250000
Kitchen Renovations | Amp 60 | Brickenwood |  |  |  | 350000
Grounds/ Site (Including Office/ Administration Buildings)
Courtyard/ Grade Construction | Amp 60 | Brickenwood | 1
Fence Installation/ Replacement | Amp 60 | Brickenwood |  |  |  |  | 200000
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 60 | Brickenwood |  |  | 250000
Walkways Replacement | Amp 60 | Brickenwood | 1
Electrical (Including Office/ Administration Buildings)
Access Control/ Intercom Systems Installation/ Replacement | Amp 60 | Brickenwood | 1
Appliance Gas to Electric Conversion | Amp 60 | Brickenwood | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 60 | Brickenwood | 1 | 156203.6
Communication/ Security Systems Installation | Amp 60 | Brickenwood | 1
Unit / Building Lighting Replacement | Amp 60 | Brickenwood | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 60 | Brickenwood |  |  |  |  | 300000
Unit/ Common Switch/ Receptacle Replacement | Amp 60 | Brickenwood | 1
Light Poles & Lumineers Replacement | Amp 60 | Brickenwood | 1
Fire Alarm System Modernization | Amp 60 | Brickenwood |  | 1
Heating/ Plumbing/ HVAC (Including Office/ Administration Buildings)
Heating/ HVAC Systems Replacement | Amp 60 | Brickenwood | 230247
Hot Water Storage Tank Replacement | Amp 60 | Brickenwood | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 60 | Brickenwood |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 60 | Brickenwood |  |  | 200000
Sanitary Lines Replacement | Amp 60 | Brickenwood |  |  |  | 350000
2015 - Debt Service (43%) | Amp 70 | Presidential Heights | 413944.875 | 413944.875 | 413944.875 | 413944.875 | 413944.875
2022 - Debt Service (10%) | Amp 70 | Presidential Heights | 95788.5 | 95788.5 | 95788.5 | 95788.5 | 95788.5
Master Security Plan | Amp 70 | Presidential Heights | 1
Relocation | Amp 70 | Presidential Heights | 1
Building Exterior (Including Office/ Administration Buildings)
Alternative Energy Measures/ Construction | Amp 70 | Presidential Heights |  |  |  |  | 1
Basement Access Upgrades | Amp 70 | Presidential Heights |  |  |  |  | 350000
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 70 | Presidential Heights |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 70 | Presidential Heights | 300000 | 300000
Front/ Rear Porches Replacement | Amp 70 | Presidential Heights | 1
Property Office Renovations | Amp 70 | Presidential Heights |  |  |  | 200000
Roof/ Gutters Replacement | Amp 70 | Presidential Heights | 1
Siding/ Trim Replacement | Amp 70 | Presidential Heights | 1
Windows Replacement | Amp 70 | Presidential Heights |  |  |  |  | 250000
Building Interior (Including Office/ Administration Buildings)
Bathroom Renovations | Amp 70 | Presidential Heights |  | 1
Flooring Replacement | Amp 70 | Presidential Heights |  |  | 1
Unit Door/ Hardware Replacement | Amp 70 | Presidential Heights | 1
Kitchen Renovations | Amp 70 | Presidential Heights |  |  | 1
Grounds/ Site (Including Office/ Administration Buildings)
Fence Installation/ Replacement | Amp 70 | Presidential Heights | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 70 | Presidential Heights |  | 1
Walkways Replacement | Amp 70 | Presidential Heights | 1
Electrical (Including Office/ Administration Buildings)
Access Control/ Intercom Systems Installation/ Replacement | Amp 70 | Presidential Heights | 1
Appliance Gas to Electric Conversion | Amp 70 | Presidential Heights |  |  | 350000
Building Service Main Load Center/ Switchgear Replacement | Amp 70 | Presidential Heights | 1
Communication/ Security Systems Installation | Amp 70 | Presidential Heights | 1
Unit / Building Lighting Replacement | Amp 70 | Presidential Heights | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 70 | Presidential Heights |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 70 | Presidential Heights |  |  | 250000
Light Poles & Lumineers Replacement | Amp 70 | Presidential Heights | 1
Fire Alarm System Modernization | Amp 70 | Presidential Heights | 1
Heating/ Plumbing/ HVAC (Including Office/ Administration Buildings)
Heating/ HVAC Systems Replacement | Amp 70 | Presidential Heights | 1
Hot Water Storage Tank Replacement | Amp 70 | Presidential Heights | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 70 | Presidential Heights |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 70 | Presidential Heights | 230247
Sanitary Lines Replacement | Amp 70 | Presidential Heights | 1
Master Security Plan | Amp 70 | Adams Street | 1
Relocation | Amp 70 | Adams Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 70 | Adams Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 70 | Adams Street | 1
Entry Doors/ Hardware Replacement | Amp 70 | Adams Street | 1
Front/ Rear Porches Replacement | Amp 70 | Adams Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 70 | Adams Street | 1
Siding/ Trim Replacement | Amp 70 | Adams Street |  | 1
Windows Replacement | Amp 70 | Adams Street |  |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 70 | Adams Street | 1
Flooring Replacement | Amp 70 | Adams Street | 1
Wall Protection | Amp 70 | Adams Street | 1
Unit Door/ Hardware Replacement | Amp 70 | Adams Street | 1
Kitchen Renovations | Amp 70 | Adams Street |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 70 | Adams Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 70 | Adams Street |  |  |  |  | 1
Walkways Replacement | Amp 70 | Adams Street |  |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 70 | Adams Street | 1
Appliance Gas to Electric Conversion | Amp 70 | Adams Street |  |  |  | 350000
Building Service Main Load Center/ Switchgear Replacement | Amp 70 | Adams Street | 1
Carbon Dioxide/ Smoke Detector Replacement | Amp 70 | Adams Street | 1
Common Area/ Exterior Lighting Replacement | Amp 70 | Adams Street | 1
Communication/ Security Systems Installation | Amp 70 | Adams Street | 1
Unit / Building Lighting Replacement | Amp 70 | Adams Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 70 | Adams Street |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 70 | Adams Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 70 | Adams Street | 1
Fire Alarm System Modernization | Amp 70 | Adams Street |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 70 | Adams Street | 1
Hot Water Storage Tank Replacement | Amp 70 | Adams Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 70 | Adams Street |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 70 | Adams Street |  |  |  | 1
Sanitary Lines Replacement | Amp 70 | Adams Street |  |  |  | 1
Sprinkler System Modernization | Amp 70 | Adams Street |  |  |  |  | 1
Master Security Plan | Amp 70 | Coggeshall Street | 1
Relocation | Amp 70 | Coggeshall Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 70 | Coggeshall Street |  |  |  |  | 1
Basement Access Upgrades | Amp 70 | Coggeshall Street |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 70 | Coggeshall Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 70 | Coggeshall Street | 1
Front/ Rear Porches Replacement | Amp 70 | Coggeshall Street |  |  |  | 1
Roof/ Gutters Replacement | Amp 70 | Coggeshall Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 70 | Coggeshall Street |  |  |  |  | 1
Windows Replacement | Amp 70 | Coggeshall Street | 1
Building Interior
Bathroom Renovations | Amp 70 | Coggeshall Street |  | 1
Flooring Replacement | Amp 70 | Coggeshall Street | 1
Unit Door/ Hardware Replacement | Amp 70 | Coggeshall Street | 1
Kitchen Renovations | Amp 70 | Coggeshall Street |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 70 | Coggeshall Street |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 70 | Coggeshall Street | 1
Walkways Replacement | Amp 70 | Coggeshall Street | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 70 | Coggeshall Street | 1
Appliance Gas to Electric Conversion | Amp 70 | Coggeshall Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 70 | Coggeshall Street | 1
Communication/ Security Systems Installation | Amp 70 | Coggeshall Street | 1
Unit / Building Lighting Replacement | Amp 70 | Coggeshall Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 70 | Coggeshall Street |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 70 | Coggeshall Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 70 | Coggeshall Street | 1
Fire Alarm System Modernization | Amp 70 | Coggeshall Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 70 | Coggeshall Street | 1
Hot Water Storage Tank Replacement | Amp 70 | Coggeshall Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 70 | Coggeshall Street |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 70 | Coggeshall Street |  |  | 1
Sanitary Lines Replacement | Amp 70 | Coggeshall Street |  |  |  | 1
Master Security Plan | Amp 70 | Shawmut Avenue | 1
Relocation | Amp 70 | Shawmut Avenue | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 70 | Shawmut Avenue |  |  |  |  | 1
Basement Access Upgrades | Amp 70 | Shawmut Avenue |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 70 | Shawmut Avenue | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 70 | Shawmut Avenue | 1
Front/ Rear Porches Replacement | Amp 70 | Shawmut Avenue |  | 1
Roof/ Gutters Replacement | Amp 70 | Shawmut Avenue |  |  |  |  | 1
Siding/ Trim Replacement | Amp 70 | Shawmut Avenue |  |  |  |  | 1
Windows Replacement | Amp 70 | Shawmut Avenue | 1
Building Interior
Bathroom Renovations | Amp 70 | Shawmut Avenue |  |  | 1
Flooring Replacement | Amp 70 | Shawmut Avenue |  | 1
Unit Door/ Hardware Replacement | Amp 70 | Shawmut Avenue | 1
Kitchen Renovations | Amp 70 | Shawmut Avenue |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 70 | Shawmut Avenue |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 70 | Shawmut Avenue | 1
Walkways Replacement | Amp 70 | Shawmut Avenue | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 70 | Shawmut Avenue | 1
Appliance Gas to Electric Conversion | Amp 70 | Shawmut Avenue |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 70 | Shawmut Avenue | 1
Communication/ Security Systems Installation | Amp 70 | Shawmut Avenue | 1
Unit / Building Lighting Replacement | Amp 70 | Shawmut Avenue | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 70 | Shawmut Avenue |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 70 | Shawmut Avenue |  |  | 1
Light Poles & Lumineers Replacement | Amp 70 | Shawmut Avenue | 1
Fire Alarm System Modernization | Amp 70 | Shawmut Avenue |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 70 | Shawmut Avenue | 1
Hot Water Storage Tank Replacement | Amp 70 | Shawmut Avenue | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 70 | Shawmut Avenue |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 70 | Shawmut Avenue |  |  | 1
Sanitary Lines Replacement | Amp 70 | Shawmut Avenue |  |  |  | 1
Master Security Plan | Amp 70 | Topham Street | 1
Relocation | Amp 70 | Topham Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 70 | Topham Street |  |  |  |  | 1
Basement Access Upgrades | Amp 70 | Topham Street |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 70 | Topham Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 70 | Topham Street | 1
Front/ Rear Porches Replacement | Amp 70 | Topham Street |  |  | 1
Roof/ Gutters Replacement | Amp 70 | Topham Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 70 | Topham Street |  |  |  |  | 1
Windows Replacement | Amp 70 | Topham Street | 1
Building Interior
Bathroom Renovations | Amp 70 | Topham Street |  |  | 1
Flooring Replacement | Amp 70 | Topham Street |  | 1
Unit Door/ Hardware Replacement | Amp 70 | Topham Street | 1
Kitchen Renovations | Amp 70 | Topham Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 70 | Topham Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 70 | Topham Street | 1
Walkways Replacement | Amp 70 | Topham Street | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 70 | Topham Street | 1
Appliance Gas to Electric Conversion | Amp 70 | Topham Street |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 70 | Topham Street | 1
Communication/ Security Systems Installation | Amp 70 | Topham Street | 1
Unit / Building Lighting Replacement | Amp 70 | Topham Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 70 | Topham Street |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 70 | Topham Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 70 | Topham Street | 1
Fire Alarm System Modernization | Amp 70 | Topham Street |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 70 | Topham Street | 1
Hot Water Storage Tank Replacement | Amp 70 | Topham Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 70 | Topham Street |  |  |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 70 | Topham Street |  |  |  | 1
Sanitary Lines Replacement | Amp 70 | Topham Street |  |  |  | 1
2022 - Debt Service (5%) | Amp 80 | Satellite Village | 47894.25 | 47894.25 | 47894.25 | 47894.25 | 47894.25
Master Security Plan | Amp 80 | Satellite Village | 1
Relocation | Amp 80 | Satellite Village | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 80 | Satellite Village |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 80 | Satellite Village | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 80 | Satellite Village | 1
Front/ Rear Porches Replacement | Amp 80 | Satellite Village | 1
Roof/ Gutters Replacement | Amp 80 | Satellite Village |  |  |  | 250000
Siding/ Trim Replacement | Amp 80 | Satellite Village | 530247
Windows Replacement | Amp 80 | Satellite Village |  |  |  |  | 250000
Building Interior
Bathroom Renovations | Amp 80 | Satellite Village |  |  | 250000
Flooring Replacement | Amp 80 | Satellite Village |  | 1
Unit Door/ Hardware Replacement | Amp 80 | Satellite Village | 1
Kitchen Renovations | Amp 80 | Satellite Village | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 80 | Satellite Village | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 80 | Satellite Village | 1
Walkways Replacement | Amp 80 | Satellite Village | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 80 | Satellite Village | 1
Appliance Gas to Electric Conversion | Amp 80 | Satellite Village |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 80 | Satellite Village | 1
Communication/ Security Systems Installation | Amp 80 | Satellite Village | 1
Unit / Building Lighting Replacement | Amp 80 | Satellite Village | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 80 | Satellite Village | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 80 | Satellite Village | 1
Light Poles & Lumineers Replacement | Amp 80 | Satellite Village | 1
Fire Alarm System Modernization | Amp 80 | Satellite Village |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 80 | Satellite Village | 1
Hot Water Storage Tank Replacement | Amp 80 | Satellite Village | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 80 | Satellite Village | 1 | 300000
Potable Water Service Lines/ Isolation Valves Replacement | Amp 80 | Satellite Village |  | 1
Sanitary Lines Replacement | Amp 80 | Satellite Village |  |  | 1
2015 - Debt Service (4%) | Amp 90 | Dottin Place I | 38506.5 | 42406.5 | 40219 | 42125.26 | 42944
2022 - Debt Service (9%) | Amp 90 | Dottin Place I | 86209.65 | 86509.65 | 86442.15 | 86007.15 | 85204.65
Master Security Plan | Amp 90 | Dottin Place I | 1
Relocation | Amp 90 | Dottin Place I | 1
Building Exterior (Including Office/ Administration Buildings)
Alternative Energy Measures/ Construction | Amp 90 | Dottin Place I |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Dottin Place I | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Dottin Place I |  |  |  |  | 1
Front/ Rear Porches Replacement | Amp 90 | Dottin Place I | 1
Property Office Renovations | Amp 90 | Dottin Place I |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 90 | Dottin Place I | 1
Siding/ Trim Replacement | Amp 90 | Dottin Place I | 1
Windows Replacement | Amp 90 | Dottin Place I |  |  |  |  | 1
Building Interior (Including Office/ Administration Buildings)
Bathroom Renovations | Amp 90 | Dottin Place I |  |  | 350000
Flooring Replacement | Amp 90 | Dottin Place I |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Dottin Place I | 1
Kitchen Renovations | Amp 90 | Dottin Place I |  |  |  | 300000
Grounds/ Site (Including Office/ Administration Buildings)
Fence Installation/ Replacement | Amp 90 | Dottin Place I |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Dottin Place I | 1
Walkways Replacement | Amp 90 | Dottin Place I | 1
Electrical (Including Office/ Administration Buildings)
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Dottin Place I | 1
Appliance Gas to Electric Conversion | Amp 90 | Dottin Place I | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Dottin Place I | 1
Communication/ Security Systems Installation | Amp 90 | Dottin Place I | 1
Unit / Building Lighting Replacement | Amp 90 | Dottin Place I | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Dottin Place I | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Dottin Place I | 1
Light Poles & Lumineers Replacement | Amp 90 | Dottin Place I | 1
Fire Alarm System Modernization | Amp 90 | Dottin Place I |  |  |  |  | 1
Heating/ Plumbing/ HVAC (Including Office/ Administration Buildings)
Heating/ HVAC Systems Replacement | Amp 90 | Dottin Place I | 529808.6
Hot Water Storage Tank Replacement | Amp 90 | Dottin Place I | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Dottin Place I | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Dottin Place I |  | 1
Sanitary Lines Replacement | Amp 90 | Dottin Place I |  |  | 200000
Master Security Plan | Amp 90 | Dottin Place II | 1
Relocation | Amp 90 | Dottin Place II | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | Dottin Place II |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Dottin Place II | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Dottin Place II | 1
Front/ Rear Porches Replacement | Amp 90 | Dottin Place II | 1
Roof/ Gutters Replacement | Amp 90 | Dottin Place II | 1
Siding/ Trim Replacement | Amp 90 | Dottin Place II | 1
Windows Replacement | Amp 90 | Dottin Place II | 1
Building Interior
Bathroom Renovations | Amp 90 | Dottin Place II |  |  | 200000
Flooring Replacement | Amp 90 | Dottin Place II |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Dottin Place II | 1
Kitchen Renovations | Amp 90 | Dottin Place II |  |  |  | 250000
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | Dottin Place II |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Dottin Place II | 1
Walkways Replacement | Amp 90 | Dottin Place II | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Dottin Place II | 1
Appliance Gas to Electric Conversion | Amp 90 | Dottin Place II | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Dottin Place II | 1
Communication/ Security Systems Installation | Amp 90 | Dottin Place II | 1
Unit / Building Lighting Replacement | Amp 90 | Dottin Place II | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Dottin Place II | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Dottin Place II | 1
Light Poles & Lumineers Replacement | Amp 90 | Dottin Place II | 1
Fire Alarm System Modernization | Amp 90 | Dottin Place II |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | Dottin Place II | 1
Hot Water Storage Tank Replacement | Amp 90 | Dottin Place II | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Dottin Place II |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Dottin Place II |  |  | 1
Sanitary Lines Replacement | Amp 90 | Dottin Place II |  |  |  | 1
Master Security Plan | Amp 90 | DeMedeiros I | 1
Relocation | Amp 90 | DeMedeiros I | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | DeMedeiros I |  |  |  |  | 1
Basement Access Upgrades | Amp 90 | DeMedeiros I |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | DeMedeiros I |  |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | DeMedeiros I |  |  |  |  | 1
Front/ Rear Porches Replacement | Amp 90 | DeMedeiros I | 1
Roof/ Gutters Replacement | Amp 90 | DeMedeiros I |  |  | 1
Siding/ Trim Replacement | Amp 90 | DeMedeiros I |  | 1
Windows Replacement | Amp 90 | DeMedeiros I | 1
Building Interior
Bathroom Renovations | Amp 90 | DeMedeiros I |  | 1
Flooring Replacement | Amp 90 | DeMedeiros I | 1
Unit Door/ Hardware Replacement | Amp 90 | DeMedeiros I | 1
Kitchen Renovations | Amp 90 | DeMedeiros I |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | DeMedeiros I |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | DeMedeiros I | 1
Walkways Replacement | Amp 90 | DeMedeiros I | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | DeMedeiros I | 1
Appliance Gas to Electric Conversion | Amp 90 | DeMedeiros I |  |  |  | 200000
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | DeMedeiros I | 1
Communication/ Security Systems Installation | Amp 90 | DeMedeiros I | 1
Unit / Building Lighting Replacement | Amp 90 | DeMedeiros I | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | DeMedeiros I |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | DeMedeiros I |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | DeMedeiros I | 1
Fire Alarm System Modernization | Amp 90 | DeMedeiros I |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | DeMedeiros I | 1 | 530247
Hot Water Storage Tank Replacement | Amp 90 | DeMedeiros I | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | DeMedeiros I | 1 | 300000
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | DeMedeiros I |  |  |  | 1
Sanitary Lines Replacement | Amp 90 | DeMedeiros I |  |  |  |  | 350000
Master Security Plan | Amp 90 | DeMedeiros II | 1
Relocation | Amp 90 | DeMedeiros II | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | DeMedeiros II |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | DeMedeiros II |  |  | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | DeMedeiros II |  |  |  |  | 1
Front/ Rear Porches Replacement | Amp 90 | DeMedeiros II |  |  |  | 1
Roof/ Gutters Replacement | Amp 90 | DeMedeiros II |  |  |  |  | 1
Siding/ Trim Replacement | Amp 90 | DeMedeiros II |  |  |  |  | 1
Windows Replacement | Amp 90 | DeMedeiros II |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 90 | DeMedeiros II |  |  | 1
Flooring Replacement | Amp 90 | DeMedeiros II |  | 1
Unit Door/ Hardware Replacement | Amp 90 | DeMedeiros II | 1
Kitchen Renovations | Amp 90 | DeMedeiros II |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | DeMedeiros II |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | DeMedeiros II | 1
Walkways Replacement | Amp 90 | DeMedeiros II | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | DeMedeiros II | 1
Appliance Gas to Electric Conversion | Amp 90 | DeMedeiros II |  |  |  |  | 250000
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | DeMedeiros II | 1
Communication/ Security Systems Installation | Amp 90 | DeMedeiros II | 1
Unit / Building Lighting Replacement | Amp 90 | DeMedeiros II | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | DeMedeiros II |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | DeMedeiros II |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | DeMedeiros II | 1
Fire Alarm System Modernization | Amp 90 | DeMedeiros II |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | DeMedeiros II | 1
Hot Water Storage Tank Replacement | Amp 90 | DeMedeiros II | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | DeMedeiros II |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | DeMedeiros II |  |  | 1
Sanitary Lines Replacement | Amp 90 | DeMedeiros II |  |  |  | 1
Master Security Plan | Amp 90 | Chaffee/ Fairfield Street | 1
Relocation | Amp 90 | Chaffee/ Fairfield Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Basement Access Upgrades | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 150000
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Chaffee/ Fairfield Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Front/ Rear Porches Replacement | Amp 90 | Chaffee/ Fairfield Street |  | 1
Roof/ Gutters Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Siding/ Trim Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Windows Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 90 | Chaffee/ Fairfield Street
Flooring Replacement | Amp 90 | Chaffee/ Fairfield Street |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Chaffee/ Fairfield Street | 1 |  | 1
Kitchen Renovations | Amp 90 | Chaffee/ Fairfield Street |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Walkways Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Appliance Gas to Electric Conversion | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 218618.1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Chaffee/ Fairfield Street |  | 1
Communication/ Security Systems Installation | Amp 90 | Chaffee/ Fairfield Street | 1
Unit / Building Lighting Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Chaffee/ Fairfield Street |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Hot Water Storage Tank Replacement | Amp 90 | Chaffee/ Fairfield Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  | 1
Sanitary Lines Replacement | Amp 90 | Chaffee/ Fairfield Street |  |  |  |  | 1
Master Security Plan | Amp 90 | Harwich Manor | 1
Relocation | Amp 90 | Harwich Manor | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | Harwich Manor |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Harwich Manor | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Harwich Manor | 1
Front/ Rear Porches Replacement | Amp 90 | Harwich Manor | 1
Roof/ Gutters Replacement | Amp 90 | Harwich Manor |  |  |  |  | 150000
Siding/ Trim Replacement | Amp 90 | Harwich Manor | 1
Windows Replacement | Amp 90 | Harwich Manor |  |  | 175000
Building Interior
Bathroom Renovations | Amp 90 | Harwich Manor | 1
Flooring Replacement | Amp 90 | Harwich Manor |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Harwich Manor | 1
Kitchen Renovations | Amp 90 | Harwich Manor |  |  |  | 175000
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | Harwich Manor |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Harwich Manor | 1
Walkways Replacement | Amp 90 | Harwich Manor | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Harwich Manor | 1
Appliance Gas to Electric Conversion | Amp 90 | Harwich Manor |  |  |  | 175000
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Harwich Manor | 1
Communication/ Security Systems Installation | Amp 90 | Harwich Manor | 1
Unit / Building Lighting Replacement | Amp 90 | Harwich Manor | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Harwich Manor | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Harwich Manor |  |  | 175000
Light Poles & Lumineers Replacement | Amp 90 | Harwich Manor | 1
Fire Alarm System Modernization | Amp 90 | Harwich Manor |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | Harwich Manor | 1
Hot Water Storage Tank Replacement | Amp 90 | Harwich Manor | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Harwich Manor |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Harwich Manor |  |  | 1
Sanitary Lines Replacement | Amp 90 | Harwich Manor |  |  |  | 1
Master Security Plan | Amp 90 | Howard Avenue | 1
Relocation | Amp 90 | Howard Avenue | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | Howard Avenue |  |  |  |  | 1
Basement Access Upgrades | Amp 90 | Howard Avenue |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Howard Avenue | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Howard Avenue | 1
Front/ Rear Porches Replacement | Amp 90 | Howard Avenue | 1
Roof/ Gutters Replacement | Amp 90 | Howard Avenue | 1
Siding/ Trim Replacement | Amp 90 | Howard Avenue |  |  |  |  | 1
Windows Replacement | Amp 90 | Howard Avenue | 1
Building Interior
Bathroom Renovations | Amp 90 | Howard Avenue |  |  | 1
Flooring Replacement | Amp 90 | Howard Avenue |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Howard Avenue | 1
Kitchen Renovations | Amp 90 | Howard Avenue |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | Howard Avenue | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Howard Avenue | 1
Walkways Replacement | Amp 90 | Howard Avenue | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Howard Avenue | 1
Appliance Gas to Electric Conversion | Amp 90 | Howard Avenue |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Howard Avenue |  | 1
Communication/ Security Systems Installation | Amp 90 | Howard Avenue | 1
Unit / Building Lighting Replacement | Amp 90 | Howard Avenue | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Howard Avenue |  |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Howard Avenue |  |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | Howard Avenue | 1
Fire Alarm System Modernization | Amp 90 | Howard Avenue | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | Howard Avenue | 1
Hot Water Storage Tank Replacement | Amp 90 | Howard Avenue | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Howard Avenue |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Howard Avenue |  |  | 1
Sanitary Lines Replacement | Amp 90 | Howard Avenue |  |  |  |  | 1
Master Security Plan | Amp 90 | New Plainville Road | 1
Relocation | Amp 90 | New Plainville Road | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | New Plainville Road |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | New Plainville Road | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | New Plainville Road | 1
Front/ Rear Porches Replacement | Amp 90 | New Plainville Road |  |  | 1
Roof/ Gutters Replacement | Amp 90 | New Plainville Road |  |  |  |  | 1
Siding/ Trim Replacement | Amp 90 | New Plainville Road |  |  |  |  | 1
Windows Replacement | Amp 90 | New Plainville Road |  |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 90 | New Plainville Road |  |  |  | 1
Flooring Replacement | Amp 90 | New Plainville Road |  |  | 1
Unit Door/ Hardware Replacement | Amp 90 | New Plainville Road |  | 1
Kitchen Renovations | Amp 90 | New Plainville Road |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | New Plainville Road | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | New Plainville Road | 1
Walkways Replacement | Amp 90 | New Plainville Road | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | New Plainville Road | 1
Appliance Gas to Electric Conversion | Amp 90 | New Plainville Road |  |  |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | New Plainville Road | 1
Communication/ Security Systems Installation | Amp 90 | New Plainville Road | 1
Unit / Building Lighting Replacement | Amp 90 | New Plainville Road | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | New Plainville Road |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | New Plainville Road |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | New Plainville Road | 1
Fire Alarm System Modernization | Amp 90 | New Plainville Road |  |  |  |  | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | New Plainville Road | 1
Hot Water Storage Tank Replacement | Amp 90 | New Plainville Road | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | New Plainville Road |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | New Plainville Road |  |  |  | 1
Sanitary Lines Replacement | Amp 90 | New Plainville Road |  |  |  |  | 1
Master Security Plan | Amp 90 | Sylvia Street | 1
Relocation | Amp 90 | Sylvia Street | 1
Building Exterior
Alternative Energy Measures/ Construction | Amp 90 | Sylvia Street |  |  |  |  | 1
Basement Access Upgrades | Amp 90 | Sylvia Street |  |  |  |  | 1
Building Exterior Power Washing/ Painting/ Waterproofing | Amp 90 | Sylvia Street | 1
Entry Doors/ Storm Doors/ Hardware Replacement | Amp 90 | Sylvia Street | 1
Front/ Rear Porches Replacement | Amp 90 | Sylvia Street |  |  |  |  | 1
Roof/ Gutters Replacement | Amp 90 | Sylvia Street | 1
Siding/ Trim Replacement | Amp 90 | Sylvia Street |  |  |  | 1
Windows Replacement | Amp 90 | Sylvia Street |  |  |  | 1
Building Interior
Bathroom Renovations | Amp 90 | Sylvia Street |  |  |  |  | 1
Flooring Replacement | Amp 90 | Sylvia Street |  | 1
Unit Door/ Hardware Replacement | Amp 90 | Sylvia Street | 1
Kitchen Renovations | Amp 90 | Sylvia Street |  |  |  |  | 1
Grounds/ Site
Fence Installation/ Replacement | Amp 90 | Sylvia Street |  |  |  |  | 1
Parking Lot Replacement/ Resurfacing & Line Striping | Amp 90 | Sylvia Street |  |  | 1
Walkways Replacement | Amp 90 | Sylvia Street |  |  | 1
Electrical
Access Control/ Intercom Systems Installation/ Replacement | Amp 90 | Sylvia Street | 1
Appliance Gas to Electric Conversion | Amp 90 | Sylvia Street |  | 1
Building Service Main Load Center/ Switchgear Replacement | Amp 90 | Sylvia Street |  | 1
Communication/ Security Systems Installation | Amp 90 | Sylvia Street | 1
Unit / Building Lighting Replacement | Amp 90 | Sylvia Street | 1
Unit/ Common Load Center Replacement/ Relocation | Amp 90 | Sylvia Street |  | 1
Unit/ Common Switch/ Receptacle Replacement | Amp 90 | Sylvia Street |  |  | 1
Light Poles & Lumineers Replacement | Amp 90 | Sylvia Street | 1
Fire Alarm System Modernization | Amp 90 | Sylvia Street | 1
Heating/ Plumbing/ HVAC
Heating/ HVAC Systems Replacement | Amp 90 | Sylvia Street | 1
Hot Water Storage Tank Replacement | Amp 90 | Sylvia Street | 1
Kitchen & Bath Exhaust Systems Installation/ Replacement | Amp 90 | Sylvia Street |  |  | 1
Potable Water Service Lines/ Isolation Valves Replacement | Amp 90 | Sylvia Street |  |  |  |  | 1
Sanitary Lines Replacement | Amp 90 | Sylvia Street |  |  |  |  | 1
COCC Admin Cost 10 % of Total Grant | PHA WIDE | PHA WIDE | 743641.9 | 743641.9 | 743641.9 | 743641.9 | 743641.9
Total Expenditures |  |  | 7436416 | 7436416 | 7436416 | 7436416 | 7436416
Total Grant (ACTUAL AWARD) |  |  | 7436416 | 7436416 | 7436416 | 7436416 | 7436416
Difference (Should equal zero) |  |  | 0 | 0 | 0 | 0 | 0
1410 Admin |  |  | 743641.9 | 743641.9 | 743641.9 | 743641.9 | 743641.9
1480 General Capital Activity |  |  | 4772226.6 | 4768026.6 | 4770281.6 | 4768810.34 | 4768794.1
9001 Bond Debt Obligation (2015 Debt Services) |  |  | 962662.5 | 966562.5 | 964375 | 966281.26 | 967100
9002 Bond Debt Obligation (2022 Debt Services) |  |  | 957885 | 958185 | 958117.5 | 957682.5 | 956880
Total Grant Award |  |  | 7436416 | 7436416 | 7436416 | 7436416 | 7436416
(1,035 work activites)